## nomenclature
paper symbol | GAMS SYMBOL | tab name | explanation
SETS
t | t | t | years
j | j | genunits | generation units
PARAMETERS
E(t) | E(t) | demand | demand in year t
C(jt) | C(j,t) | invcost | unit investment cost for unit j in year t
X(jmax) | XMAX(j) | XMAX | maximum investment capacity of unit j
f(jtk) | f(t,j) | omcost | operation and maintenance cost
c(jt) | cf(t,j) | capfactor | capacity factors
P(t) | P(t) | peak | peak demand in year t
h(jt) | h(j) | hours | working hours of j type unit per a year
N/A | v(t,j) | gencost | variable cost of unit j in year t (generation cost per MWh)
N/A | em(t,j) | emrate | emissions rate of unit j in year t
N/A | existing(j) | existing | existing generation units
N/A | climit(j) | climit | total construction limit for each unit j
N/A | plan(t,j) | planned | already planned investments for unit j in year t

## t
2012
2013
2014
2015
2016
2017
2018
2019
2020
2021
2022
2023
2024
2025
2026
2027

## genunits
Naturalgas
Lignite
Hardcoal
Importcoal
Fueloil
Nuclear
Hydro
Wind
Geothermal
Biomass
Solar

## capfactor
c(jt) | Naturalgas | Lignite | Hardcoal | Importcoal | Fueloil | Nuclear | Hydro | Wind | Geothermal | Biomass | Solar
2012 | 0.85 | 0.85 | 0.85 | 0.85 | 0.7702 | 0.85 | 0.5 | 0.3 | 0.75 | 0.85 | 0.11 | 1 | 85 | 85 | 85 | 85 | 77.02 | 85 | 50 | 30 | 75 | 85 | 11
2013 | 0.85 | 0.85 | 0.85 | 0.85 | 0.7702 | 0.85 | 0.5 | 0.3 | 0.75 | 0.85 | 0.11 | 2 | 85 | 85 | 85 | 85 | 77.02 | 85 | 50 | 30 | 75 | 85 | 11
2014 | 0.85 | 0.85 | 0.85 | 0.85 | 0.7702 | 0.85 | 0.5 | 0.3 | 0.75 | 0.85 | 0.11 | 3 | 85 | 85 | 85 | 85 | 77.02 | 85 | 50 | 30 | 75 | 85 | 11
2015 | 0.85 | 0.85 | 0.85 | 0.85 | 0.7702 | 0.85 | 0.5 | 0.3 | 0.75 | 0.85 | 0.11 | 4 | 85 | 85 | 85 | 85 | 77.02 | 85 | 50 | 30 | 75 | 85 | 11
2016 | 0.85 | 0.85 | 0.85 | 0.85 | 0.7702 | 0.85 | 0.5 | 0.3 | 0.75 | 0.85 | 0.11 | 5 | 85 | 85 | 85 | 85 | 77.02 | 85 | 50 | 30 | 75 | 85 | 11
2017 | 0.85 | 0.85 | 0.85 | 0.85 | 0.7702 | 0.85 | 0.5 | 0.3 | 0.75 | 0.85 | 0.11 | 6 | 85 | 85 | 85 | 85 | 77.02 | 85 | 50 | 30 | 75 | 85 | 11
2018 | 0.85 | 0.85 | 0.85 | 0.85 | 0.7702 | 0.85 | 0.5 | 0.3 | 0.75 | 0.85 | 0.11 | 7 | 85 | 85 | 85 | 85 | 77.02 | 85 | 50 | 30 | 75 | 85 | 11
2019 | 0.85 | 0.85 | 0.85 | 0.85 | 0.7702 | 0.85 | 0.5 | 0.3 | 0.75 | 0.85 | 0.11 | 8 | 85 | 85 | 85 | 85 | 77.02 | 85 | 50 | 30 | 75 | 85 | 11
2020 | 0.85 | 0.85 | 0.85 | 0.85 | 0.7702 | 0.85 | 0.5 | 0.3 | 0.75 | 0.85 | 0.11 | 9 | 85 | 85 | 85 | 85 | 77.02 | 85 | 50 | 30 | 75 | 85 | 11
2021 | 0.85 | 0.85 | 0.85 | 0.85 | 0.7702 | 0.85 | 0.5 | 0.3 | 0.75 | 0.85 | 0.11 | 10 | 85 | 85 | 85 | 85 | 77.02 | 85 | 50 | 30 | 75 | 85 | 11
2022 | 0.85 | 0.85 | 0.85 | 0.85 | 0.7702 | 0.85 | 0.5 | 0.3 | 0.75 | 0.85 | 0.11 | 11 | 85 | 85 | 85 | 85 | 77.02 | 85 | 50 | 30 | 75 | 85 | 11
2023 | 0.85 | 0.85 | 0.85 | 0.85 | 0.7702 | 0.85 | 0.5 | 0.3 | 0.75 | 0.85 | 0.11 | 12 | 85 | 85 | 85 | 85 | 77.02 | 85 | 50 | 30 | 75 | 85 | 11
2024 | 0.85 | 0.85 | 0.85 | 0.85 | 0.7702 | 0.85 | 0.5 | 0.3 | 0.75 | 0.85 | 0.11 | 13 | 85 | 85 | 85 | 85 | 77.02 | 85 | 50 | 30 | 75 | 85 | 11
2025 | 0.85 | 0.85 | 0.85 | 0.85 | 0.7702 | 0.85 | 0.5 | 0.3 | 0.75 | 0.85 | 0.11 | 14 | 85 | 85 | 85 | 85 | 77.02 | 85 | 50 | 30 | 75 | 85 | 11
2026 | 0.85 | 0.85 | 0.85 | 0.85 | 0.7702 | 0.85 | 0.5 | 0.3 | 0.75 | 0.85 | 0.11 | 15 | 85 | 85 | 85 | 85 | 77.02 | 85 | 50 | 30 | 75 | 85 | 11
2027 | 0.85 | 0.85 | 0.85 | 0.85 | 0.7702 | 0.85 | 0.5 | 0.3 | 0.75 | 0.85 | 0.11 | 16 | 85 | 85 | 85 | 85 | 77.02 | 85 | 50 | 30 | 75 | 85 | 11

## climit
Naturalgas | 90 | 90 | 1429 | 1000000 | 700
Lignite | 179 | 179 | 2858 | 1000000 | 350
Hardcoal | 209 | 209 | 3334 | 1000000 | 300
Importcoal | 125 | 125 | 2000 | 1000000 | 500
Fueloil | 417 | 417 | 6667 | 1000000 | 150
Nuclear | 1 | 1 | 10 | 10000 | 1000
Hydro | 3 | 3 | 40 | 20000 | 500
Wind | 63 | 63 | 1000 | 45000 | 45
Geothermal | 3 | 3 | 40 | 2000 | 50
Biomass | 11 | 11 | 167 | 5000 | 30
Solar | 63 | 63 | 1000 | 5000 | 5
|  | climit(units/year) | climit(units) | climit (MW) | XMAX
horizon is 16 years

## demandalpha
std of demand | 3262384.8521
| expected | alphas--> | 0.9 | 0.8 | 0.7 | 0.6 | 0.5
2012 | 242400000 |  | 246580914.4146 | 245145692.3636 | 244110796.2891 | 243226515.7516 | 242400000
2013 | 247248000 |  | 251428914.4146 | 249993692.3636 | 248958796.2891 | 248074515.7516 | 247248000
2014 | 252192960 |  | 256373874.4146 | 254938652.3636 | 253903756.2891 | 253019475.7516 | 252192960
2015 | 257236819.2 |  | 261417733.6146 | 259982511.5636 | 258947615.4891 | 258063334.9516 | 257236819.2
2016 | 262381555.584 |  | 266562469.9986 | 265127247.9476 | 264092351.8731 | 263208071.3356 | 262381555.584
2017 | 267629186.6957 |  | 271810101.1103 | 270374879.0593 | 269339982.9848 | 268455702.4473 | 267629186.6957
2018 | 272981770.4296 |  | 277162684.8442 | 275727462.7932 | 274692566.7187 | 273808286.1812 | 272981770.4296
2019 | 278441405.8382 |  | 282622320.2528 | 281187098.2018 | 280152202.1273 | 279267921.5898 | 278441405.8382
2020 | 284010233.9549 |  | 288191148.3696 | 286755926.3186 | 285721030.244 | 284836749.7065 | 284010233.9549
2021 | 289690438.634 |  | 293871353.0487 | 292436130.9977 | 291401234.9231 | 290516954.3856 | 289690438.634
2022 | 295484247.4067 |  | 299665161.8213 | 298229939.7703 | 297195043.6958 | 296310763.1583 | 295484247.4067
2023 | 301393932.3549 |  | 305574846.7695 | 304139624.7185 | 303104728.644 | 302220448.1065 | 301393932.3549
2024 | 307421811.002 |  | 311602725.4166 | 310167503.3656 | 309132607.2911 | 308248326.7536 | 307421811.002
2025 | 313570247.222 |  | 317751161.6366 | 316315939.5856 | 315281043.5111 | 314396762.9736 | 313570247.222
2026 | 319841652.1664 |  | 324022566.5811 | 322587344.5301 | 321552448.4555 | 320668167.918 | 319841652.1664
2027 | 326238485.2098 |  | 330419399.6244 | 328984177.5734 | 327949281.4989 | 327065000.9614 | 326238485.2098

## demand
2012 | 242400000 | MWh |  | 242400000 | MWh | 242,4 milyar kWh
2013 | 247248000 | 1.02 | yillik buyume |  |  | data from: | http://www.enerji.gov.tr/tr-TR/Sayfalar/Elektrik
2014 | 252192960
2015 | 257236819.2 |  | std of demand
2016 | 262381555.584 |  | 3262384.8521
2017 | 267629186.6957
2018 | 272981770.4296
2019 | 278441405.8382
2020 | 284010233.9549
2021 | 289690438.634
2022 | 295484247.4067
2023 | 301393932.3549
2024 | 307421811.002
2025 | 313570247.222
2026 | 319841652.1664
2027 | 326238485.2098

## emratestd
Naturalgas | 475.64
Lignite | 247.42
Hardcoal | 247.42
Importcoal | 247.42
Fueloil | 145.77
Nuclear | 0
Hydro | 0
Wind | 0
Geothermal | 0
Biomass | 0
Solar | 0

## emrate
em(t,j) | Naturalgas | Lignite | Hardcoal | Importcoal | Fueloil | Nuclear | Hydro | Wind | Geothermal | Biomass | Solar
2012 | 1135 | 2127.3264 | 2249 | 2196.3207 | 1325 | 0 | 0 | 0 | 0 | 0 | 0
2013 | 1135 | 2127.3264 | 2249 | 2196.3207 | 1325 | 0 | 0 | 0 | 0 | 0 | 0
2014 | 1135 | 2127.3264 | 2249 | 2196.3207 | 1325 | 0 | 0 | 0 | 0 | 0 | 0
2015 | 1135 | 2127.3264 | 2249 | 2196.3207 | 1325 | 0 | 0 | 0 | 0 | 0 | 0
2016 | 1135 | 2127.3264 | 2249 | 2196.3207 | 1325 | 0 | 0 | 0 | 0 | 0 | 0
2017 | 1135 | 2127.3264 | 2249 | 2196.3207 | 1325 | 0 | 0 | 0 | 0 | 0 | 0
2018 | 1135 | 2127.3264 | 2249 | 2196.3207 | 1325 | 0 | 0 | 0 | 0 | 0 | 0
2019 | 1135 | 2127.3264 | 2249 | 2196.3207 | 1325 | 0 | 0 | 0 | 0 | 0 | 0
2020 | 1135 | 2127.3264 | 2249 | 2196.3207 | 1325 | 0 | 0 | 0 | 0 | 0 | 0
2021 | 1135 | 2127.3264 | 2249 | 2196.3207 | 1325 | 0 | 0 | 0 | 0 | 0 | 0
2022 | 1135 | 2127.3264 | 2249 | 2196.3207 | 1325 | 0 | 0 | 0 | 0 | 0 | 0
2023 | 1135 | 2127.3264 | 2249 | 2196.3207 | 1325 | 0 | 0 | 0 | 0 | 0 | 0
2024 | 1135 | 2127.3264 | 2249 | 2196.3207 | 1325 | 0 | 0 | 0 | 0 | 0 | 0
2025 | 1135 | 2127.3264 | 2249 | 2196.3207 | 1325 | 0 | 0 | 0 | 0 | 0 | 0
2026 | 1135 | 2127.3264 | 2249 | 2196.3207 | 1325 | 0 | 0 | 0 | 0 | 0 | 0
2027 | 1135 | 2127.3264 | 2249 | 2196.3207 | 1325 | 0 | 0 | 0 | 0 | 0 | 0

## existing
Naturalgas | 20268 | MW | 20268
Lignite | 1703 |  | 1703
Hardcoal | 6812 | 8515 | 6812
Importcoal | 4048 |  | 4048
Fueloil | 5759
Nuclear | 0 |  | 0
Hydro | 22289 |  | 22289
Wind | 2760 |  | 2760
Geothermal | 405 |  | 405
Biomass | 0 |  | 0
Solar | 0 |  | 0
58285
total | 64044

## gencoststd
Naturalgas | 3.95 | CC
Lignite | 14.6 | Coal
Hardcoal | 14.6 | Coal
Importcoal | 14.6 | Coal
Fueloil | 4.9 | STOG
Nuclear | 1.01 | NU
Hydro | 0 | HY
Wind | 0 | WT
Geothermal | 0 | GEO
Biomass | 3.91 | Biomass
Solar | 0 | PV

## gencost
v(t,j) | Naturalgas | Lignite | Hardcoal | Importcoal | Fueloil | Nuclear | Hydro | Wind | Geothermal | Biomass | Solar
2012 | 47.451 | 30.2592 | 28.6275 | 29.2 | 58.8235 | 12.0588 | 0 | 0 | 0 | 41.4706 | 0 | 1
2013 | 44.8838 | 28.6222 | 27.0787 | 27.6203 | 55.6411 | 11.4064 | 0 | 0 | 0 | 39.227 | 0 | 2
2014 | 43.6528 | 27.8372 | 26.336 | 26.8627 | 54.1151 | 11.0936 | 0 | 0 | 0 | 38.1511 | 0 | 3
2015 | 42.4556 | 27.0737 | 25.6137 | 26.126 | 52.6309 | 10.7893 | 0 | 0 | 0 | 37.1048 | 0 | 4
2016 | 41.2912 | 26.3311 | 24.9112 | 25.4094 | 51.1874 | 10.4934 | 0 | 0 | 0 | 36.0871 | 0 | 5
2017 | 40.1587 | 25.609 | 24.228 | 24.7125 | 49.7835 | 10.2056 | 0 | 0 | 0 | 35.0974 | 0 | 6
2018 | 39.0573 | 24.9066 | 23.5635 | 24.0348 | 48.4181 | 9.9257 | 0 | 0 | 0 | 34.1348 | 0 | 7
2019 | 37.9861 | 24.2235 | 22.9172 | 23.3756 | 47.0902 | 9.6535 | 0 | 0 | 0 | 33.1986 | 0 | 8
2020 | 36.9442 | 23.5591 | 22.2887 | 22.7345 | 45.7987 | 9.3887 | 0 | 0 | 0 | 32.288 | 0 | 9
2021 | 35.931 | 22.913 | 21.6774 | 22.1109 | 44.5426 | 9.1312 | 0 | 0 | 0 | 31.4025 | 0 | 10
2022 | 34.9455 | 22.2846 | 21.0828 | 21.5045 | 43.3209 | 8.8808 | 0 | 0 | 0 | 30.5412 | 0 | 11
2023 | 33.9871 | 21.6734 | 20.5046 | 20.9147 | 42.1328 | 8.6372 | 0 | 0 | 0 | 29.7036 | 0 | 12
2024 | 33.0549 | 21.0789 | 19.9422 | 20.3411 | 40.9772 | 8.4003 | 0 | 0 | 0 | 28.8889 | 0 | 13
2025 | 32.1484 | 20.5008 | 19.3953 | 19.7832 | 39.8533 | 8.1699 | 0 | 0 | 0 | 28.0966 | 0 | 14
2026 | 31.2666 | 19.9386 | 18.8633 | 19.2406 | 38.7603 | 7.9459 | 0 | 0 | 0 | 27.326 | 0 | 15
2027 | 30.4091 | 19.3917 | 18.346 | 18.7129 | 37.6972 | 7.7279 | 0 | 0 | 0 | 26.5766 | 0 | 16
ejc-ejf | 0.03
interest rate | 0.06

## hours
Naturalgas | 7000
Lignite | 6500
Hardcoal | 6500
Importcoal | 6500
Fueloil | 6500
Nuclear | 7000
Hydro | 7000
Wind | 3000
Geothermal | 8000
Biomass | 8000
Solar | 2640

## invcoststd
Naturalgas | 57.5 | CC
Lignite | 581.95 | Coal
Hardcoal | 581.95 | Coal
Importcoal | 581.95 | Coal
Fueloil | 39.5 | STOG
Nuclear | 1334.33 | NU
Hydro | 0 | HY
Wind | 584.02 | WT
Geothermal | 231.28 | GEO
Biomass | 368.06 | Biomass
Solar | 1239.92 | PV

## invcost
C(t,j) $/MW | Naturalgas | Lignite | Hardcoal | Importcoal | Fueloil | Nuclear | Hydro | Wind | Geothermal | Biomass | Solar |  | $/kW
2012 | 500000 | 1146000 | 1084000 | 1110000 | 1280000 | 2000000 | 1350000 | 1912000 | 3000000 | 2599000 | 3500000 | 1 | 500 | 1146 | 1084 | 1110 | 1280 | 2000 | 1350 | 1912 | 3000 | 2599 | 3500
2013 | 472949.5377 | 1084000.3404 | 1025354.5977 | 1049947.9737 | 1210750.8165 | 1891798.1507 | 1276963.7517 | 1808559.0321 | 2837697.2261 | 2458391.6969 | 3310646.7638 | 2 | 472.9495 | 1084.0003 | 1025.3546 | 1049.948 | 1210.7508 | 1891.7982 | 1276.9638 | 1808.559 | 2837.6972 | 2458.3917 | 3310.6468
2014 | 459978.1537 | 1054269.9284 | 997232.6373 | 1021151.5013 | 1177544.0736 | 1839912.615 | 1241941.0151 | 1758956.4599 | 2759868.9225 | 2390966.4432 | 3219847.0762 | 3 | 459.9782 | 1054.2699 | 997.2326 | 1021.1515 | 1177.5441 | 1839.9126 | 1241.941 | 1758.9565 | 2759.8689 | 2390.9664 | 3219.8471
2015 | 447362.5304 | 1025354.9197 | 969881.9659 | 993144.8175 | 1145248.0778 | 1789450.1216 | 1207878.8321 | 1710714.3162 | 2684175.1823 | 2325390.433 | 3131537.7127 | 4 | 447.3625 | 1025.3549 | 969.882 | 993.1448 | 1145.2481 | 1789.4501 | 1207.8788 | 1710.7143 | 2684.1752 | 2325.3904 | 3131.5377
2016 | 435092.9103 | 997232.9505 | 943281.4296 | 965906.2609 | 1113837.8504 | 1740371.6413 | 1174750.8579 | 1663795.2891 | 2610557.4619 | 2261612.9478 | 3045650.3722 | 5 | 435.0929 | 997.233 | 943.2814 | 965.9063 | 1113.8379 | 1740.3716 | 1174.7509 | 1663.7953 | 2610.5575 | 2261.6129 | 3045.6504
2017 | 423159.8039 | 969882.2704 | 917410.4548 | 939414.7646 | 1083289.0979 | 1692639.2154 | 1142531.4704 | 1618163.0899 | 2538958.8231 | 2199584.6604 | 2962118.627 | 6 | 423.1598 | 969.8823 | 917.4105 | 939.4148 | 1083.2891 | 1692.6392 | 1142.5315 | 1618.1631 | 2538.9588 | 2199.5847 | 2962.1186
2018 | 411553.9816 | 943281.7258 | 892249.032 | 913649.8391 | 1053578.1928 | 1646215.9263 | 1111195.7502 | 1573782.4255 | 2469323.8894 | 2139257.5962 | 2880877.871 | 7 | 411.554 | 943.2817 | 892.249 | 913.6498 | 1053.5782 | 1646.2159 | 1111.1958 | 1573.7824 | 2469.3239 | 2139.2576 | 2880.8779
2019 | 400266.4672 | 917410.7428 | 867777.7009 | 888591.5572 | 1024682.156 | 1601065.8688 | 1080719.4614 | 1530618.9706 | 2401598.8032 | 2080585.0965 | 2801865.2704 | 8 | 400.2665 | 917.4107 | 867.7777 | 888.5916 | 1024.6822 | 1601.0659 | 1080.7195 | 1530.619 | 2401.5988 | 2080.5851 | 2801.8653
2020 | 389288.5306 | 892249.3122 | 843977.5344 | 864220.538 | 996578.6384 | 1557154.1225 | 1051079.0327 | 1488639.3411 | 2335731.1838 | 2023521.7822 | 2725019.7144 | 9 | 389.2885 | 892.2493 | 843.9775 | 864.2205 | 996.5786 | 1557.1541 | 1051.079 | 1488.6393 | 2335.7312 | 2023.5218 | 2725.0197
2021 | 378611.6812 | 867777.9734 | 820830.1249 | 840517.9323 | 969245.9039 | 1514446.7249 | 1022251.5393 | 1447811.069 | 2271670.0873 | 1968023.519 | 2650281.7686 | 10 | 378.6117 | 867.778 | 820.8301 | 840.5179 | 969.2459 | 1514.4467 | 1022.2515 | 1447.8111 | 2271.6701 | 1968.0235 | 2650.2818
2022 | 368227.6612 | 843977.7994 | 798317.5694 | 817465.4078 | 942662.8126 | 1472910.6447 | 994214.6852 | 1408102.5763 | 2209365.9671 | 1914047.3828 | 2577593.6282 | 11 | 368.2277 | 843.9778 | 798.3176 | 817.4654 | 942.6628 | 1472.9106 | 994.2147 | 1408.1026 | 2209.366 | 1914.0474 | 2577.5936
2023 | 358128.4392 | 820830.3826 | 776422.4562 | 795045.135 | 916808.8043 | 1432513.7568 | 966946.7858 | 1369483.1515 | 2148770.6352 | 1861551.6269 | 2506899.0743 | 12 | 358.1284 | 820.8304 | 776.4225 | 795.0451 | 916.8088 | 1432.5138 | 966.9468 | 1369.4832 | 2148.7706 | 1861.5516 | 2506.8991
2024 | 348306.2042 | 798317.8201 | 755127.8508 | 773239.7734 | 891663.8828 | 1393224.8169 | 940426.7514 | 1331922.925 | 2089837.2254 | 1810495.6496 | 2438143.4296 | 13 | 348.3062 | 798.3178 | 755.1279 | 773.2398 | 891.6639 | 1393.2248 | 940.4268 | 1331.9229 | 2089.8372 | 1810.4956 | 2438.1434
2025 | 338753.3595 | 776422.7 | 734417.2834 | 752032.4581 | 867208.6003 | 1355013.438 | 914634.0706 | 1295392.8467 | 2032520.157 | 1760839.9627 | 2371273.5165 | 14 | 338.7534 | 776.4227 | 734.4173 | 752.0325 | 867.2086 | 1355.0134 | 914.6341 | 1295.3928 | 2032.5202 | 1760.84 | 2371.2735
2026 | 329462.5165 | 755128.0879 | 714274.7358 | 731406.7867 | 843424.0423 | 1317850.0661 | 889548.7946 | 1259864.6632 | 1976775.0992 | 1712546.1609 | 2306237.6157 | 15 | 329.4625 | 755.1281 | 714.2747 | 731.4068 | 843.424 | 1317.8501 | 889.5488 | 1259.8647 | 1976.7751 | 1712.5462 | 2306.2376
2027 | 320426.4895 | 734417.514 | 694684.6293 | 711346.8067 | 820291.8132 | 1281705.9581 | 865151.5217 | 1225310.8959 | 1922558.9371 | 1665576.8925 | 2242985.4267 | 16 | 320.4265 | 734.4175 | 694.6846 | 711.3468 | 820.2918 | 1281.706 | 865.1515 | 1225.3109 | 1922.5589 | 1665.5769 | 2242.9854
ejc-ejf | 0.03
interest rate | 0.06

## omcoststd
Naturalgas | 1.6 | CC
Lignite | 9.03 | AC
Hardcoal | 9.03 | AC
Importcoal | 9.03 | AC
Fueloil | 0.74 | CT
Nuclear | 33.48 | NU
Hydro | 0 | HY
Wind | 12.05 | WT
Geothermal | 4.68 | GEO
Biomass | 9.48 | Biomass
Solar | 11.48 | PV

## omcost
f(jtk) $/MW | Naturalgas | Lignite | Hardcoal | Importcoal | Fueloil | Nuclear | Hydro | Wind | Geothermal | Biomass | Solar |  | $/kW
2012 | 273500 | 335400 | 403800 | 321900 | 357800 | 657000 | 4400 | 61770 | 145680 | 116880 | 15050 | 1 | 273.5 | 335.4 | 403.8 | 321.9 | 357.8 | 657 | 4.4 | 61.77 | 145.68 | 116.88 | 15.05
2013 | 258703.3971 | 317254.5499 | 381954.0466 | 304484.9124 | 338442.6892 | 621455.6925 | 4161.9559 | 58428.1859 | 137798.5773 | 110556.6839 | 14235.7811 | 2 | 258.7034 | 317.2545 | 381.954 | 304.4849 | 338.4427 | 621.4557 | 4.162 | 58.4282 | 137.7986 | 110.5567 | 14.2358
2014 | 251608.0501 | 308553.3455 | 371478.357 | 296133.9354 | 329160.3668 | 604411.294 | 4047.8078 | 56825.7011 | 134019.2349 | 107524.4932 | 13845.3424 | 3 | 251.6081 | 308.5533 | 371.4784 | 296.1339 | 329.1604 | 604.4113 | 4.0478 | 56.8257 | 134.0192 | 107.5245 | 13.8453
2015 | 244707.3041 | 300090.7854 | 361289.9795 | 288011.9971 | 320132.6267 | 587834.3649 | 3936.7903 | 55267.167 | 130343.5469 | 104575.4651 | 13465.6122 | 4 | 244.7073 | 300.0908 | 361.29 | 288.012 | 320.1326 | 587.8344 | 3.9368 | 55.2672 | 130.3435 | 104.5755 | 13.4656
2016 | 237995.8219 | 291860.3242 | 351381.0344 | 280112.8157 | 311352.4866 | 571712.0842 | 3828.8176 | 53751.3781 | 126768.6704 | 101707.3187 | 13096.2966 | 5 | 237.9958 | 291.8603 | 351.381 | 280.1128 | 311.3525 | 571.7121 | 3.8288 | 53.7514 | 126.7687 | 101.7073 | 13.0963
2017 | 231468.4127 | 283855.5964 | 341743.8576 | 272430.2817 | 302813.1556 | 556031.9823 | 3723.8063 | 52277.1622 | 123291.8405 | 98917.8357 | 12737.1101 | 6 | 231.4684 | 283.8556 | 341.7439 | 272.4303 | 302.8132 | 556.032 | 3.7238 | 52.2772 | 123.2918 | 98.9178 | 12.7371
2018 | 225120.0279 | 276070.4108 | 332370.9955 | 264958.4533 | 294508.0292 | 540781.9318 | 3621.675 | 50843.3789 | 119910.3681 | 96204.8587 | 12387.7748 | 7 | 225.12 | 276.0704 | 332.371 | 264.9585 | 294.508 | 540.7819 | 3.6217 | 50.8434 | 119.9104 | 96.2049 | 12.3878
2019 | 218945.7576 | 268498.7462 | 323255.1989 | 257691.5516 | 286430.6839 | 525950.1379 | 3522.3449 | 49448.9194 | 116621.6379 | 93566.2894 | 12048.0207 | 8 | 218.9458 | 268.4987 | 323.2552 | 257.6916 | 286.4307 | 525.9501 | 3.5223 | 49.4489 | 116.6216 | 93.5663 | 12.048
2020 | 212940.8263 | 261134.7463 | 314389.4173 | 250623.956 | 278574.8725 | 511525.1293 | 3425.7391 | 48092.7051 | 113423.1063 | 91000.0869 | 11717.5848 | 9 | 212.9408 | 261.1347 | 314.3894 | 250.624 | 278.5749 | 511.5251 | 3.4257 | 48.0927 | 113.4231 | 91.0001 | 11.7176
2021 | 207100.5896 | 253972.7158 | 305766.7938 | 243750.2004 | 270934.5191 | 497495.7491 | 3331.7828 | 46773.6871 | 110312.2994 | 88504.2666 | 11396.2116 | 10 | 207.1006 | 253.9727 | 305.7668 | 243.7502 | 270.9345 | 497.4957 | 3.3318 | 46.7737 | 110.3123 | 88.5043 | 11.3962
2022 | 201420.5307 | 247007.1151 | 297380.6592 | 237064.9683 | 263503.7143 | 483851.1468 | 3240.4034 | 45490.8453 | 107286.8114 | 86076.8981 | 11083.6526 | 11 | 201.4205 | 247.0071 | 297.3807 | 237.065 | 263.5037 | 483.8511 | 3.2404 | 45.4908 | 107.2868 | 86.0769 | 11.0837
2023 | 195896.2562 | 240232.557 | 289224.5275 | 230563.0892 | 256276.7111 | 470580.7691 | 3151.5303 | 44243.1874 | 104344.302 | 83716.1039 | 10779.666 | 12 | 195.8963 | 240.2326 | 289.2245 | 230.5631 | 256.2767 | 470.5808 | 3.1515 | 44.2432 | 104.3443 | 83.7161 | 10.7797
2024 | 190523.4937 | 233643.8018 | 281292.0905 | 224239.5343 | 249247.9197 | 457674.3524 | 3065.0946 | 43029.7485 | 101482.4957 | 81420.0583 | 10484.0167 | 13 | 190.5235 | 233.6438 | 281.2921 | 224.2395 | 249.2479 | 457.6744 | 3.0651 | 43.0297 | 101.4825 | 81.4201 | 10.484
2025 | 185298.0876 | 227235.7535 | 273577.2131 | 218089.4128 | 242411.9041 | 445121.9144 | 2981.0296 | 41849.59 | 98699.1788 | 79186.9853 | 10196.4761 | 14 | 185.2981 | 227.2358 | 273.5772 | 218.0894 | 242.4119 | 445.1219 | 2.981 | 41.8496 | 98.6992 | 79.187 | 10.1965
2026 | 180215.9965 | 221003.4561 | 266073.9283 | 212107.9681 | 235763.3768 | 432913.7467 | 2899.2701 | 40701.7993 | 95992.1988 | 77015.1579 | 9916.8217 | 15 | 180.216 | 221.0035 | 266.0739 | 212.108 | 235.7634 | 432.9137 | 2.8993 | 40.7018 | 95.9922 | 77.0152 | 9.9168
2027 | 175273.2898 | 214942.0892 | 258776.4329 | 206290.574 | 229297.1959 | 421040.4072 | 2819.7531 | 39585.4885 | 93359.462 | 74902.8962 | 9644.8373 | 16 | 175.2733 | 214.9421 | 258.7764 | 206.2906 | 229.2972 | 421.0404 | 2.8198 | 39.5855 | 93.3595 | 74.9029 | 9.6448
ejc-ejf | 0.03
interest rate | 0.06

## XMAX
Naturalgas | 700
Lignite | 350
Hardcoal | 300
Importcoal | 500
Fueloil | 150
Nuclear | 1000
Hydro | 500
Wind | 45
Geothermal | 50
Biomass | 30
Solar | 5

## peakalpha
std of peak | 1029.19
| expected | alphas--> | 0.9 | 0.8 | 0.7 | 0.6 | 0.5
2012 | 38200 |  | 39518.9601 | 39066.1882 | 38739.7078 | 38460.7423 | 38200
2013 | 40565 |  | 41883.9601 | 41431.1882 | 41104.7078 | 40825.7423 | 40565
2014 | 43080 |  | 44398.9601 | 43946.1882 | 43619.7078 | 43340.7423 | 43080
2015 | 45878 |  | 47196.9601 | 46744.1882 | 46417.7078 | 46138.7423 | 45878
2016 | 49025 |  | 50343.9601 | 49891.1882 | 49564.7078 | 49285.7423 | 49025
2017 | 52465 |  | 53783.9601 | 53331.1882 | 53004.7078 | 52725.7423 | 52465
2018 | 56105 |  | 57423.9601 | 56971.1882 | 56644.7078 | 56365.7423 | 56105
2019 | 59975 |  | 61293.9601 | 60841.1882 | 60514.7078 | 60235.7423 | 59975
2020 | 64093 |  | 65411.9601 | 64959.1882 | 64632.7078 | 64353.7423 | 64093
2021 | 68579 |  | 69897.9601 | 69445.1882 | 69118.7078 | 68839.7423 | 68579
2022 | 73380 |  | 74698.9601 | 74246.1882 | 73919.7078 | 73640.7423 | 73380
2023 | 78516 |  | 79834.9601 | 79382.1882 | 79055.7078 | 78776.7423 | 78516
2024 | 84012 |  | 85330.9601 | 84878.1882 | 84551.7078 | 84272.7423 | 84012
2025 | 89893 |  | 91211.9601 | 90759.1882 | 90432.7078 | 90153.7423 | 89893
2026 | 96186 |  | 97504.9601 | 97052.1882 | 96725.7078 | 96446.7423 | 96186
2027 | 102919 |  | 104237.9601 | 103785.1882 | 103458.7078 | 103179.7423 | 102919

## peak
2012 | 38200 | MW
2013 | 40565
2014 | 43080
2015 | 45878
2016 | 49025
2017 | 52465
2018 | 56105
2019 | 59975
2020 | 64093
2021 | 68579
2022 | 73380
2023 | 78516
2024 | 84012
2025 | 89893
2026 | 96186
2027 | 102919

## planned
MW | Naturalgas | Lignite | Hardcoal | Importcoal | Fueloil | Nuclear | Hydro | Wind | Geothermal | Biomass | Solar
2012 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2013 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2014 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 300
2015 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 300
2016 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 200
2017 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 200
2018 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 200 | Naturalgas | Lignite | Hardcoal | Importcoal | Fueloil | Nuclear | Hydro | Wind | Geothermal | Biomass | Solar
2019 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 200 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2020 | 0 | 0 | 0 | 0 | 0 | 4800 | 0 | 0 | 0 | 0 | 200 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2021 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 200 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 300
2022 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 200 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 300
2023 | 0 | 0 | 0 | 0 | 0 | 4400 | 0 | 0 | 0 | 0 | 200 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 200
2024 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 200
2025 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 200
2026 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 200
2027 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4800 | 0 | 0 | 0 | 0 | 200
[12 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 200
[12 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 200
[12 empty] | 0 | 0 | 0 | 0 | 0 | 4400 | 0 | 0 | 0 | 0 | 200
[12 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[12 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[12 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[12 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[12 empty] | Naturalgas | Lignite | Hardcoal | Importcoal | Fueloil | Nuclear | Hydro | Wind | Geothermal | Biomass | Solar
[12 empty] | 0 | 0 | 0 | 0 | 0 | 9200 | 0 | 0 | 0 | 0 | 2200

## variables
n(j,t) | Naturalgas | Lignite | Hardcoal | Importcoal | Fueloil | Nuclear | Hydro | Wind | Geothermal | Biomass | Solar
2012 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11
2013 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22
2014 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33
2015 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44
2016 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 53 | 54 | 55
2017 | 56 | 57 | 58 | 59 | 60 | 61 | 62 | 63 | 64 | 65 | 66
2018 | 67 | 68 | 69 | 70 | 71 | 72 | 73 | 74 | 75 | 76 | 77
2019 | 78 | 79 | 80 | 81 | 82 | 83 | 84 | 85 | 86 | 87 | 88
2020 | 89 | 90 | 91 | 92 | 93 | 94 | 95 | 96 | 97 | 98 | 99
2021 | 100 | 101 | 102 | 103 | 104 | 105 | 106 | 107 | 108 | 109 | 110
2022 | 111 | 112 | 113 | 114 | 115 | 116 | 117 | 118 | 119 | 120 | 121
2023 | 122 | 123 | 124 | 125 | 126 | 127 | 128 | 129 | 130 | 131 | 132
2024 | 133 | 134 | 135 | 136 | 137 | 138 | 139 | 140 | 141 | 142 | 143
2025 | 144 | 145 | 146 | 147 | 148 | 149 | 150 | 151 | 152 | 153 | 154
2026 | 155 | 156 | 157 | 158 | 159 | 160 | 161 | 162 | 163 | 164 | 165
2027 | 166 | 167 | 168 | 169 | 170 | 171 | 172 | 173 | 174 | 175 | 176

## technical
Unittype | Naturalgas | Lignite | Hardcoal | Importcoal | Fueloil | Nuclear | Hydro | Wind | Geothermal | Biomass | Solar
cap | 700 | 350 | 300 | 500 | 150 | 1000 | 500 | 45 | 50 | 30 | 5
invcost | 500 | 1146 | 1084 | 1110 | 1280 | 2000 | 1350 | 1912 | 3000 | 2599 | 3500
fj0($/kW-year) | 273.5 | 335.4 | 403.8 | 321.9 | 357.8 | 657 | 4.4 | 61.77 | 145.68 | 116.88 | 15.05
cj0(%) | 85 | 85 | 85 | 85 | 77.02 | 85 | 50 | 30 | 75 | 85 | 11
ejc-ejf | 0.03 | 0.03 | 0.03 | 0.03 | 0.03 | 0.03 | 0.03 | 0.03 | 0.03 | 0.03 | 0.03
kj | 0.007 | 0.007 | 0.007 | 0.007 | 0.007 | 0.007 | 0.007 | 0.007 | 0.007 | 0.007 | 0.007
hj(h) | 7000 | 6500 | 6500 | 6500 | 6500 | 7000 | 7000 | 3000 | 8000 | 8000 | 2640
Lj(year) | 30 | 40 | 40 | 40 | 40 | 60 | 80 | 25 | 40 | 20 | 25
emissions | 1135 | 2127.3264 | 2249 | 2196.3207 | 1325 | 0 | 0 | 0 | 0 | 0 | 0
| expected | Nuclear | Coal | NaturalGasCCGT | NaturalGasGT | Oil | Solar | CoalCCS | Wind
| SO2 | 0 | 13 | 0.1 | 0.66 | 3 | 0 | 0.13 | 0
| NOX | 0 | 6 | 1.7 | 2.9 | 2.4 | 0 | 1.6 | 0
| CO2 | 0 |  |  | 1565 |  | 0 | 1540 | 0